| Why | Water must meet local, state and federal water quality standards for agricultural purposes |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Who | Person responsible for water quality and water safety |  |  |  |  |  |
| When | At the start of each growing season and as required by state and federal requirements |  |  |  |  |  |
| Where | At water sources, wells, closest valve to the source, etc.. |  |  |  |  |  |
| How | 1 = compliant 3 = in process 5 = not compliant | 1 | 2 | 3 | 4 | 5 |
|  | Identify all sources and distribution of water usage identified |  |  |  |  |  |
|  | Informed of current and historical use of the land |  |  |  |  |  |
|  | Verified if water sources in flood zones |  |  |  |  |  |
|  | Verify if existing practices and conditions for potential success of contamination |  |  |  |  |  |
|  | Verify if wells in good working condition |  |  |  |  |  |
|  | Test water for contaminants following state and federal requirements |  |  |  |  |  |
|  | Verify that the irrigation water is not contaminated (as per state and federal standards) |  |  |  |  |  |
| Correction | - If the water is contaminated stop using the water - Identify contaminated food and treat or destroy - Treat contaminated water and retest |  |  |  |  |  |
| PIC Verification | Validate water testing records and spot test water sources. |  |  |  |  |  |